How to keep our drinking water safe from Cryptosporidium
Cryptosporidium – An Emerging Pathogen 
Disease causing agents can be broken up into three groups; Bacteria, Viruses and Protozoa. Cryptosporidium belongs to the third group, Protozoa.  The word protozoa comes from the Greek word for ‘little animal’. 
One aspect of Cryptosporidium which makes it problematic from a water treatment perspective is that at one stage in its life cycle it produces small spore like bodies known as cysts. These cysts have a hard outer wall which makes them resistant to chlorine and they can survive for months in a cold, damp environment. 
There are a number of different strains of Cryptosporidium, but two in particular, Cryptosporidium parvum and Cryptosporidium hominis, are responsible for most cases of human cryptosporidiosis. Cryptosporidium hominis is almost exclusively a human pathogen while Cryptosporidium parvum can be transmitted by cattle. 
There are a number of important points worth making in relation to Cryptosporidium:
1. It is a relatively new problem;
2. It is difficult to test for;
3. Faecal coloforms are not good indicators for it and 
4. Chlorine does not kill it.    

Cryptosporidium is a relatively new problem
Cryptosporidium is an emerging pathogen. The first cases of human cryptosporidiosis were reported in 1976. Prior to that, it was not known that Cryptosporidium caused illness in humans. The disease came to international attention in 1993 when an operation failure at the water treatment plant in Milwaukee, Wisconsin, led to a massive outbreak of cryptosporidiosis. An estimated 403,000 persons became ill, 4,400 were hospitalized and it is estimated that 60 people died as a result of the outbreak. It was the largest documented outbreak of water-borne disease in the United States since record keeping began in 1920.
In the last decade in the US, the proportion of water borne illness associated with Protozoa has tripled over that of the previous decade. 
It is difficult to test for  Cryptosporidium 
Unlike bacterial testing which is relatively simple, testing for Cryptosporidium is a complex process. The analytical procedure involves filtering a large volume of water ( circa 20 litres) and the use of mono-clonal antibodies and immuno-fluorescent staining.
The fact that Crytpsporidium is not a routine test parameter would be less problematic if faecal coliforms were a good indicator of the presence or absence of Cryptosporidium.  However, it must be noted:
Faecal coliforms are not good indicators for Cryptosporidium
Faecal coliforms are very good indicators for the presence or absence of bacteria and viruses, but not so, for the presence or absence of Cryptosporidium. In records from the USA, coliform bacteria were only detected in 49% of outbreaks where protozoa were the cause of illness. 
Chlorine does not kill Cryptosporidium  
This is a key point. For the past one hundred years chlorine has proved to be a reliable and effective disinfectant. In fact, the introduction of filtration and chlorination of drinking water has been the single biggest factor in reducing mortality rates and increasing longevity in the developed world in the 20th century. 
Managing the Cryptosporidium Risk 
Anybody involved in drinking water treatment will be familiar with the multi-barrier approach. This involves catchment protection, treatment and disinfection, protection of the water distribution network, and education of stakeholders. 
I would like to focus on two emerging treatment processes which are effective tools in managing Cryptosporidium risk: membrane filtration and ultra-violet disinfection.

Membrane Filtration
It should be noted that conventional filtration techniques, sand filtration for example, are actually very effective in providing significant reductions in Cryptosporidium.  A well-operated sand filter can achieve in excess of 99% removal of Cryptosporidium cysts. Depending on the risk in the catchment, this in itself may provide adequate protection against Cryptosporidium. 
A relatively new filtration technology, membrane filtration, is currently gaining widespread acceptance and is particularly useful in protecting against Cryptosporidium.  To date, membrane filtration has been regarded as an expensive technology and has not been widely adopted in Ireland. However, membrane costs are decreasing and membrane filtration is now very commonplace in North America.

There are two points worth noting here in relation to membrane filtration. Firstly, final water quality is independent of influent water quality and secondly an intact membrane provides an absolute barrier against Cryptosporidium.

The fact that final water quality is independent of influent quality can be of benefit for supplies in Ireland which experience sudden deteriorations in raw water quality in response to intense or prolonged rainfall events. The rate at which water can be treated may reduce due to increases in suspended solids, but the final quality of the water should not be impacted. 
The second point is that an intact membrane provides an absolute barrier against Cryptosporidium. In tests conducted on ultrafiltration membrane systems, removal efficiencies of  6 – 7 log reductions were recorded.  This equates to 99.9999 – 99.99999 removal.
The word intact is very important in relation to membrane systems. An intact membrane is an absolute barrier, but that barrier is very thin, typically only 1mm thick, and if there is a breach or tear in it, then cysts and other pathogens can break through. 
In a membrane system there can be hundreds of thousands of hollow fibres.  One of the challenges with this technology is how to detect if one or more of those fibres has a tear. This is an area of on-going research and it is the opinion of many in the membrane field that an integrity test with sufficient resolution to detect virus-sized breaches will be developed within the next 10 years, even if it is not initially economical or commercially viable.

Ultraviolet light (UV) Disinfection
The next step following filtration is disinfection. Chlorine has long been adopted as the disinfectant of choice and will continue to be used to provide a chlorine residual to protect the network.  However, ultraviolet light is an emerging disinfection technology which is gaining more widespread acceptance in recent years, particularly in the context of providing  protection against Cryptosporidium. 
Three points worth noting in relation to this technology are:

· UV does not kill pathogens, it inactivates them.
Ultraviolet light damages the DNA of host organisms thereby preventing them from replicating. It does this in much the same way as it causes skin cancer in humans. 
· The effectiveness of a UV system is highly dependent on the transmissivity of the water 
A UV system will only work if the UV light can pass through the water and make contact with the bacteria and other pathogens passing by the lamp. The presence of suspended solids, dissolved organic matter and iron among other things, will all affect the performance of a UV system. This is why filtration is vital to the effectiveness of a UV system. 

· Independent validation of UV systems is crucial
In Europe, UV systems are typically validated to the German DVWG standard. If a system is not validated to a recognised standard by an independent body, then don’t use it. 
Given the recent focus on Cryptosporidium, should every water supply system have a UV disinfection system? This decision should be risk based. The US EPA, for example, has created what they call a  ‘bin’ system where they group different water supplies according to different numbers of Cryptosporidium cysts present in the raw water supply. Based on this, they then specify an appropriate level of treatment. 
This article is based on a presentation which Paul O’Callaghan O2 Environmental, made recently at the National Water Summit, in Ireland.  
Paul O’Callaghan is an environmental process specialist and holds a Masters degree in Water Resource Management. He is the author of numerous papers on water and wastewater treatment and lectures on Environmental Protection technology at Kwantlen University College. He  is currently chair of a technical committee on decentralised wastewater management in British Columbia and is keenly involved in environmental technology development and the Clean Tech industry.  Paul is based in Vancouver, Canada. 

Paul.ocallaghan@o2env.com
www.o2env.com
+ 353 21 240 9133

